DIG Report End March 2022

- DIG Kick Start Meeting held 16 March 2022

Key items emerging:

Flood Resilience Training

We will put material from the flood resilience training onto the DIG website and will copy Jill Armshaw with material. PW would like to visit and see the flood remedial work undertaken in BB.

The Harrow

The DIG plan to find out more about the Harrow flooding in recent years and to ask TfB/Bucks CC to jet/clean the large culvert that runs from the Harrow to Deeters.

Affinity

Following a further chase up with Affinity requesting escalation of the issue, Affinity have at last responded and indicated that this work will be carried out in the near future. They will not carry out any cutting back of trees/bushes/hedges outside of their site.

Road Drainage

We undertook a survey on the road drains between Church Farm and Trees Rd during February and reported blocked drains via FixMystreet. The council responded that it was aimed to clear all blocked drains on a scheduled basis. However, a later check on the FixMyStreet web site showed that the majority of drains between church Farm and the top of Valley Road were then cleaned between 11th and 14th February.

Thames Water

The DWMP (Drainage and Wastewater Management Plan) is a 25 year rolling plan for infrastructure. In July this year we expect to be able to see a draft plan and comment. This plan includes our input from the 2020 Risks workshop and is expected to layout out the business plan for 2025 2030.

The GISMP (Groundwater Impacted System Management Plan) means plans for dealing with groundwater leaking into the sewage system. Last year TW lined 139 metres of sewer in Warrendene and installed monitors. We aim to ask TW to line the sewer in lower Hughenden Valley as that area is most subject to infiltration.

- Other

There had been reports of water seeping through the road surface near the foot of Cryers Hill. A blocked culvert was spotted in the hedge on the west side of Valley Rd and this has been reported via FixMyStreet & should be fixed in 6 to 8 weeks.

Paul Woodford

31 Mar 2022